## Slide 1: Graduation Project OT / ICS PLATFORM FOR PROTECTING WATER CHLORINATION FROM CYBER ATTACKS
Suprervisor: Dr. Mohammad Zulkernine
Marko Hanna · Mahmoud Elsakhawy · Kirollos Rasn · Kerolos Zaka

## Slide 2: TABLE OF CONTENTS 01 04 02 05 03 06
PROBLEM & Methodology
INTRODUCTION
TECHNOLOGIES
EXPECTED DELIVERABLES
TEAM & TIMELINE
INNOVATION & CONTRIBUTION

## Slide 3: INTRODUCTION 01

## Slide 4: INTRODUCTION
RESEARCH QUESTION
Can a PLC-aware anomaly detection system reliably identify malicious setpoint changes or abnormal process behavior in water chlorination systems, using network traffic and process data?
Water chlorination is maintained by PLCs that must keep dosing within a narrow, safe band. OT/SCADA systems were once physically isolated, but remote monitoring and cloud integration now expose them to IT-style threats without built-in authentication or encryption. In Egypt, centralized treatment serves 100M+ citizens, so a single intrusion into the chlorination control layer could become a public health emergency.
PROJECT CONTEXT

## Slide 5: PROBLEM STATEMENT
UNAUTHORIZED COMMANDS
Chlorine dosing setpoints can be altered to push concentrations outside the safe operating range
Sensor readings can be falsified to hide an unsafe condition from operators
Unauthorized commands can be injected directly into the PLC, bypassing normal control logic
The chlorination process can be disrupted directly, causing under or over-treatment of the water supply
SETPOINT MANIPULATION
FALSIFIED SENSOR DATA
PROCESS DISRUPTION

## Slide 6: Methodology
DATASET
DETECTION LAYER
CLOUD LAYER
OUTCOME
SWaT testbed data: 11 days of operation, 36 labelled attack scenarios
ML model classifies traffic and process data as normal, suspicious, or attack before impact
Real-time monitoring dashboard for chlorination status and alerts
Malicious setpoint changes flagged with low latency, low false positives

## Slide 7: TECHNOLOGIES
ICS / OT security, SCADA, PLC security, and network monitoring
Anomaly detection, time-series analysis, and classification models
AWS / Azure, Docker, and Kubernetes for scalable, resilient deployment
GitHub Actions / GitLab CI pipelines with integrated security gates
OT / ICS SECURITY
MACHINE LEARNING
CLOUD INFRASTRUCTURE
DEVOPS & CI/CD

## Slide 8: EXPECTED DELIVERABLES
The project delivers the following, demonstrated live on the SWaT dataset:
SWaT dataset analysis report covering normal behavior and all 36 attack scenarios
Trained anomaly detection model with documented F1, detection rate, and false-positive rate
Cloud-hosted security monitoring platform with a real-time dashboard
Automated CI/CD pipeline with integrated security gates and scanning reports
Technical documentation, architecture description, and final live-attack demonstration

## Slide 9: PROJECT TIMELINE
Literature review and SWaT dataset analysis
Data collection and normalization pipeline development
ML anomaly detection model training
and evaluation
Cloud infrastructure and monitoring dashboard setup
CI/CD pipeline and security gates integration
Testing, validation, and performance tuning
Final demonstration and technical
documentation

## Slide 10: INNOVATION & CONTRIBUTION
UNIFIED PLATFORM
PROCESS-AWARE DETECTION
Most ICS security research treats detection in isolation. This project treats the detection platform itself as a software product that must be built, scanned, and deployed securely combining OT security and cloud
Unlike signature-based tools, the anomaly engine reasons about chlorine dosing setpoints, sensor readings, and PLC command sequences catching attacks that are invisible at the network perimeter

## Slide 11: THANKS