## Slide 1
Platform for Protecting Water Chlorination
Systems from Cyber Attacks
Phase 1 / MVP Progress Report
A Process-Aware OT/ICS Anomaly-Detection and Monitoring System
Team (graduation project): Marko · Mahmoud · Kirollos · Kerolos Yousef
Program: M.S. in Computer Science Supervisor: Dr. Zulkernine
Detector: TranAD (selected & trained) Dataset: SWaT clean Attack_v0
Date: September 12, 2026 Repository HEAD: e57a18d (docs/root-readme)

## Slide 2
INTRODUCTION
Motivation & Background
▪ OT/ICS run physical processes — in a water-treatment plant, PLCs read sensors and drive pumps/valves to hold chlorine dosing in a narrow safe band — too little is unsafe to drink, too much is hazardous.
▪ A different security model — OT is engineered primarily around process safety, reliability, and availability; its threat models differ from conventional IT systems.
▪ Connectivity increases exposure — remote access and enterprise integration raise the attack surface; consequences are cyber-physical, not just digital.
▪ Perimeter monitoring is necessary but may be insufficient — an attacker can use legitimate control mechanisms to induce unsafe physical behaviour that looks like valid traffic.
▪ Our angle: process-aware detection — evaluate whether observed multivariate telemetry stays consistent with learned plant behaviour.
Water Chlorination ICS Security · Phase 1 / MVP
2 / 14

## Slide 3
PROBLEM & OBJECTIVES
Problem Statement & Research Objectives
Problem How can anomalous, cyber-induced changes in multivariate water-treatment process telemetry be detected and surfaced to an operator through a usable monitoring system?
O1 Analyze the SWaT dataset (normal + labelled attacks) [ACHIEVED]
O2 Integrate & evaluate the selected detector under a deployment-oriented protocol [ACHIEVED]
O3 Deliver a monitoring platform with an operator dashboard [ACHIEVED (local)]
O4 Demonstrate live detection on SWaT attacks (low latency / low FP) [PARTIAL]
O5 Treat detection as a secure product: cloud, containers, CI/CD gates [FUTURE]
O6 Technical documentation + final live attack demonstration [PARTIAL]
Water Chlorination ICS Security · Phase 1 / MVP
3 / 14

## Slide 4
LITERATURE
Related Work
▪ ICS / water-treatment security — authoritative OT guidance (NIST SP 800-82 Rev. 3) and water-sector guidance (CISA/FBI/EPA); the SWaT and WADI iTrust testbeds provide the rare labelled attack data this field depends on.
▪ Multivariate, reconstruction-based detection — unsupervised time-series anomaly detection — USAD (adversarial autoencoders), GDN (graph neural networks), and TranAD (transformer, two decoders, focus score).
▪ TranAD — the model productionized here — reconstructs the final timestep of each window; strong on SWaT/WADI benchmarks while light enough for CPU inference.
▪ Rigorous evaluation — point-adjustment inflates scores (Kim et al.) — even a random detector scores well; so point-wise metrics are treated as primary.
▪ ML systems / DevSecOps — immutable versioned artifacts, reproducible preprocessing, thin service boundaries; security gates in CI/CD deferred to later phases.
Water Chlorination ICS Security · Phase 1 / MVP
4 / 14

## Slide 5
METHODOLOGY
Approach — End-to-End MVP Pipeline
SWaT telemetry
licensed clean Attack_v0 CSVs (not committed)
▼
SWaTReplay
ordered 1 Hz stream · subsample 5 → 5 s cadence
▼
RollingWindow
owns the 30-sample ring buffer · stride 1
▼
30 × 45 window
raw telemetry in feature-name order
▼
FastAPI /score
thin, stateless boundary: validate → delegate
▼
TranADDetector
stateless: preprocess → reconstruct → score
▼
Anomaly score + 45-way attribution
which sensors drove the alert
▼
AlertEngine
stateful, in-memory: dedup · OPEN → CLOSED
▼
Monitoring API + Dashboard
/status /alerts /alerts/active · polling UI
Water Chlorination ICS Security · Phase 1 / MVP
5 / 14

## Slide 6
METHODOLOGY
Key Architectural Decisions
RollingWindow owns buffering
A deque (maxlen 30) gives automatic stride-1 eviction; validates feature count & finiteness, copies inputs. Imports neither torch nor FastAPI.
TranADDetector is stateless
One (30×45) window in → one decision out. Trivially testable and horizontally scalable; holds no streaming state.
FastAPI is a thin, stateless boundary
Validate shape / feature identity & order → delegate → shape response. No buffering, no duplicated ML logic (backend → ml.src only).
AlertEngine is the only stateful layer
A small state machine: consecutive anomalies → ONE alert (OPEN → dedup → CLOSE). Severity is a labelled heuristic. In-memory only.
Water Chlorination ICS Security · Phase 1 / MVP
6 / 14

## Slide 7
MODEL
The TranAD Detector
▪ Input — a 30-timestep window of 45 process features; model selection is complete — TranAD is not revisited this phase.
▪ Cadence & context — subsampling keeps every 5th 1 Hz sample → 5 s cadence; a 30-sample window ≈ 150 s of context and only becomes scoreable once 30 samples accumulate.
▪ Why these numbers — 30 samples are fixed by the transformer's positional encoding; 45 features remain after 6 near-constant columns were dropped in training.
▪ Scoring — reconstruct only the last timestep with two decoders; score = 0.5·MSE(x₁) + 0.5·MSE(x₂), averaged over 45 features, vs a fixed threshold.
▪ Process-aware evidence — per-feature error (45-way) shows which sensors drove the alert — at zero extra cost, carried to the operator.
▪ Reproducibility — the five immutable artifacts are byte-identical & SHA-256 verified; golden-vector parity guards the load-bearing transforms.
Water Chlorination ICS Security · Phase 1 / MVP
7 / 14

## Slide 8
DATA
SWaT Dataset & Provenance Findings
Clean Attack_v0 (reconstructed)
▪ 449,919 rows · zero missing values · all 45 features populated
▪ 12.14% row-level attack ratio
▪ ≈ 12.15% windowed (last-timestep) attack prevalence
▪ 35 contiguous attack label segments
▪ normal → attack → normal sequence, merged by timestamp
▪ licensed (iTrust/SUTD); held locally, not in version control
Provenance findings → honest engineering
• Duplicated normal block — raw attack ratio deflated to 3.79%
• Header-spelling mismatch — 6 model features silently frozen
• Threshold calibrated on frozen data — nominal 1% FPR will not hold
• Only true constant is P301 — frozen features were the data gap
Response: use clean Attack_v0; surface the caveat; reject (not impute) non-finite input; report point-wise metrics at the true base rate.
Water Chlorination ICS Security · Phase 1 / MVP
8 / 14

## Slide 9
IMPLEMENTATION
Stack, Modules & Build Order
Verified stack: Python 3.10.12 · PyTorch 2.9.1 (CPU) · scikit-learn 1.7.2 · NumPy 2.2.6 · joblib 1.5.3 · FastAPI 0.141.1 · Uvicorn 0.52.4 · httpx 0.28.1 · pytest 8.4.2 · vanilla HTML/CSS/JS. No GPU required.
▪ ml/ — production TranAD inference + immutable artifacts (research notebooks kept separate).
▪ simulator/ — SWaTReplay, RollingWindow, pipeline glue — imports neither torch nor FastAPI.
▪ backend/ — thin FastAPI app + request/response schemas.
▪ alerting/ — stateful alert engine + Alert value object (duck-types on detector output).
▪ frontend/ — single-file zero-build operator dashboard.
▪ tests/ — unit · golden-vector ML · API · integration · end-to-end.
Build order: Phase 0 → 1 → 1.5 → 2A → 2B → 3 → 4 → 5A.
2A (replay + rolling window) was built before 2B (FastAPI) on purpose — so buffer ownership was resolved first and the API could stay thin & stateless.
Water Chlorination ICS Security · Phase 1 / MVP
9 / 14

## Slide 10
EVALUATION
Protocol — Measuring Honestly
▪ Point-wise is the primary protocol — each window is scored against ground truth at its last timestep — the only sample TranAD reconstructs.
▪ Point-adjusted is secondary only — it marks a whole segment detected from a single flagged point and systematically overstates performance (Kim et al.).
▪ F1 ≈ 0.9999 is invalid as a headline — it came from a threshold searched on the test set — “can read ~1.0 even for a broken model.” Never reported as deployment.
▪ Threshold-free metrics reported too — ROC-AUC and PR-AUC characterize the model independently of the shipped threshold.
▪ System-level validation — 286 automated tests; golden-vector parity; end-to-end over a real Uvicorn socket; normal → attack → recovery lifecycle.
Water Chlorination ICS Security · Phase 1 / MVP
10 / 14

## Slide 11
RESULTS
Preliminary Results
0.7822
Precision
0.7821
Recall
0.7822
F1
3.0117%
FPR
0.9429
ROC-AUC
0.8516
PR-AUC
Point-wise, clean Attack_v0, at the shipped threshold 9.269035945180804e-05 — the deployment figures to quote.
Rung | Dataset / labelling / protocol | Prec. | Recall | F1 | FPR
1 | research concat (defective) / any-in-window / point-adjusted | 0.6575 | 1.0000 | 0.7934 | —
2 | clean Attack_v0 / any-in-window / point-adjusted | 0.8450 | 0.9655 | 0.9012 | —
3 | clean Attack_v0 / last-timestep / point-adjusted | 0.8151 | 0.9597 | 0.8815 | —
4 | clean Attack_v0 / last-timestep / point-wise (deployment) | 0.7822 | 0.7821 | 0.7822 | 3.0117%
Rung 4 is the primary deployment metric; rungs 1–3 are secondary point-adjusted diagnostics. Point adjustment does not change FP/TN, so FPR is reported only for the point-wise rung. 286 tests passing.
Water Chlorination ICS Security · Phase 1 / MVP
11 / 14

## Slide 12
DELIVERABLES
Achieved Outcomes — Current MVP
TranAD inference engine (stateless, over immutable artifacts)
Reproducible, regression-tested preprocessing (golden-vector parity)
SWaT telemetry replay of the clean Attack_v0 series
Caller-owned rolling 30-sample window (stride 1)
Thin, stateless FastAPI backend (/health, /score)
Stateful in-memory alert engine (dedup + OPEN → CLOSED)
Monitoring API (/status, /alerts, /alerts/active)
Zero-build operator dashboard (vanilla HTML/CSS/JS)
End-to-end demo over a real HTTP boundary (normal/attack/recovery)
Deployment-oriented evaluation with documented provenance
286 automated tests (unit · ML · API · integration · E2E)
Verified, pinned, reproducible environment
Water Chlorination ICS Security · Phase 1 / MVP
12 / 14

## Slide 13
ROADMAP
Future Work & Key Risks
Future work (not yet implemented)
▸ Alert persistence / database (replace in-memory state)
▸ Stuck/frozen-channel detection at ingest
▸ Docker containerization
▸ CI/CD pipeline + DevSecOps security gates (SAST, dep/container scan)
▸ AWS deployment · Terraform IaC · Kubernetes (stretch)
▸ Authentication · notifications · observability
▸ Performance/latency testing · final hardening
▸ Optional approval-gated threshold recalibration (no retraining)
Key risks & mitigations
• Threshold caveat → ~3% FPR — disclosed; honest metrics; recalibration deferred (approval-gated)
• 150 s context requirement — inherent — window must fill before first score
• Stuck channel passes silently — non-finite rejected now; stuck-channel check is future work
• In-memory alert state — lost on restart; persistence is prioritized future work
• Dataset licensing — CSVs local & git-ignored; via env var
• Artifact / env drift — SHA-256 pins + golden-vector parity test
Water Chlorination ICS Security · Phase 1 / MVP
13 / 14

## Slide 14
Conclusion
Phase 1's contribution is not a new detector — it is a reproducible, honestly evaluated engineering pipeline that turns a validated TranAD detector into an operational, end-to-end local monitoring MVP.
▪ Stateless detector · RollingWindow owns buffering · thin FastAPI · AlertEngine is the only stateful (in-memory) layer
▪ Deployment metric: point-wise F1 = 0.7822, FPR = 3.0117% · ROC-AUC 0.9429 · PR-AUC 0.8516
▪ 286 tests passing · end-to-end normal → attack → recovery over real HTTP · threshold caveats disclosed
▪ Cloud, containers, CI/CD security gates, and persistence are clearly separated as future work
Thank you — Questions & Discussion
References: NIST SP 800-82 Rev. 3 · CISA/FBI/EPA WWS Guide · SWaT/WADI · TranAD · USAD · GDN · Kim et al. (full list in the report, §12).